## Result sheet
Method name: TS_24-well_130G (Modified)
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1806000838
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦CELL:V4.1.4¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7
Date: |  |  |  | 2020-07-08
Time: |  |  |  | 17:22
System |  |  |  | SCE-BIO-C02921
User |  |  |  | SCE-BIO-C02921\Collins_Lab
Plate |  |  |  | [COS24ft] - Costar 24 Flat Transparent Cat. No.: 3337/3524/3526/3527/3473
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Selected
List of actions in this measurement script:
Plate
Temperature
| Fluorescence Bottom Reading |  |  |  |  | Label 1
Name |  |  |  | COS24ft
Plate layout
Plate area |  |  |  | A1-D6
Temperature control |  |  |  | On
Target temperature |  |  |  | 20 | °C
Mode | Fluorescence Bottom Reading
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 455 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 680 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 130 | Manual
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24130 | µm
Z-Position mode |  |  |  | Manual
Multiple Reads per Well (Circle (filled)) |  |  |  | 6 x 6
Multiple Reads per Well (Border) |  |  |  | 500 | µm
Part of Plate |  |  |  | A1-D6
Start Time |  |  |  | 2020-07-08 17:18:30
Temperature |  |  |  | 23.6 | °C
|  | 1;3 | 1;4
| 2;2 | 2;3 | 2;4 | 2;5
3;1 | 3;2 | 3;3 | 3;4 | 3;5 | 3;6
4;1 | 4;2 | 4;3 | 4;4 | 4;5 | 4;6
| 5;2 | 5;3 | 5;4 | 5;5
|  | 6;3 | 6;4
Well | A1 | A2 | A3 | A4 | A5 | A6 | B1 | B2 | B3 | B4 | B5 | B6 | C1 | C2 | C3 | C4 | C5 | C6 | D1 | D2 | D3 | D4 | D5 | D6
Mean | 13350.75 | 13289.625 | 13999.9583 | 12763.2917 | 15744.875 | 13634.7083 | 13918.5417 | 11816.3333 | 12096.6667 | 6707.9583 | 13207.3333 | 13591.4583 | 284.75 | 1496.7917 | 8017.6667 | 282.4167 | 282.9167 | 2516.1667 | 14236 | 290.7917 | 306.375 | 1036.25 | 293.1667 | 12773.375
StDev | 10571.5244 | 12148.706 | 14174.2861 | 12812.7962 | Invalid | 14673.3875 | Invalid | 13483.3275 | Invalid | 9297.8531 | Invalid | 15526.1069 | 111.6988 | 2379.4635 | 12797.7673 | 104.552 | 99.4786 | 3961.1311 | 9306.9048 | 132.6883 | 117.8056 | 716.0817 | 110.7208 | Invalid
1;3 | 5099 | 7501 | 6726 | 5787 | 4201 | 2054 | 1898 | 1599 | 1146 | 927 | 1694 | 1632 | 489 | 667 | 810 | 460 | 483 | 653 | 2213 | 527 | 534 | 578 | 522 | 794
1;4 | 4949 | 6241 | 5383 | 4223 | 3991 | 2824 | 2164 | 959 | 1148 | 1031 | 1304 | 1612 | 562 | 698 | 891 | 562 | 522 | 751 | 1477 | 664 | 640 | 672 | 586 | 829
2;2 | 9459 | 9055 | 9597 | 6063 | 7221 | 4887 | 4024 | 22100 | 8676 | 1774 | 5444 | 3690 | 249 | 500 | 1852 | 233 | 236 | 557 | 22166 | 261 | 265 | 1778 | 241 | 5932
2;3 | 16715 | 13470 | 17287 | 13170 | 23513 | 20594 | 11131 | 12148 | 6081 | 4619 | 9448 | 11347 | 228 | 698 | 2808 | 227 | 235 | 1006 | 21913 | 217 | 236 | 1763 | 243 | 5094
2;4 | 13507 | 8324 | 13155 | 15454 | 25157 | 24174 | 10935 | 2543 | 4456 | 3991 | 11239 | 10033 | 218 | 480 | 1892 | 228 | 227 | 848 | 6577 | 209 | 287 | 345 | 229 | 1887
2;5 | 4826 | 6831 | 5646 | 5809 | 5534 | 4914 | 4561 | 870 | 1216 | 1075 | 2855 | 3365 | 310 | 512 | 1040 | 299 | 289 | 478 | 1961 | 319 | 340 | 366 | 308 | 912
3;1 | 5855 | 5438 | 4666 | 3943 | 4175 | 2597 | 18015 | 1772 | 2134 | 1215 | 2045 | 2583 | 291 | 457 | 1093 | 301 | 298 | 1421 | 7384 | 305 | 302 | 1040 | 322 | 8429
3;2 | 11136 | 9362 | 9157 | 7667 | 7118 | 4318 | 28776 | 16741 | 13965 | 5540 | 10562 | 3887 | 221 | 1826 | 7503 | 212 | 225 | 2336 | 18892 | 216 | 216 | 1151 | 235 | 34847
3;3 | 31360 | 35916 | 46819 | 39687 | 60000 | 36644 | 42209 | 24126 | 24497 | 16033 | 41613 | 28353 | 226 | 4970 | 27277 | 215 | 224 | 4868 | 28800 | 209 | 210 | 1658 | 230 | 52154
3;4 | 38992 | 20941 | 21874 | 31335 | 40563 | 40916 | 21719 | 23670 | 30040 | 14264 | 39054 | 33130 | 195 | 1974 | 20559 | 200 | 224 | 3725 | 25194 | 202 | 222 | 1457 | 230 | 19351
3;5 | 6987 | 5817 | 4907 | 5101 | 8959 | 9325 | 9970 | 4838 | 8240 | 3305 | 11427 | 7232 | 217 | 392 | 3993 | 221 | 223 | 633 | 8063 | 232 | 262 | 392 | 222 | 3054
3;6 | 5222 | 4488 | 4485 | 4223 | 5379 | 4304 | 1910 | 1062 | 1320 | 1387 | 2122 | 2547 | 566 | 666 | 1402 | 530 | 514 | 754 | 1650 | 599 | 558 | 632 | 530 | 1370
4;1 | 4905 | 5014 | 3075 | 4063 | 3314 | 2458 | 16639 | 2075 | 2888 | 1514 | 2412 | 2005 | 274 | 460 | 1509 | 259 | 271 | 1548 | 6152 | 266 | 288 | 656 | 283 | 8607
4;2 | 11346 | 11466 | 8161 | 6678 | 5993 | 4396 | 48164 | 10178 | 15643 | 12171 | 22858 | 4029 | 213 | 2881 | 13158 | 207 | 223 | 3354 | 13127 | 222 | 226 | 1036 | 225 | 23479
4;3 | 39044 | 55064 | 50731 | 48769 | 60000 | 44661 | 60000 | 58845 | 60000 | 43100 | 60000 | 42595 | 222 | 11475 | 57843 | 254 | 217 | 19816 | 27269 | 208 | 211 | 3540 | 235 | 60000
4;4 | 30922 | 29732 | 29125 | 28575 | 32501 | 42574 | 9032 | 28118 | 32037 | 15040 | 25250 | 51324 | 212 | 2215 | 13856 | 235 | 227 | 5933 | 22661 | 196 | 275 | 1391 | 220 | 25284
4;5 | 9595 | 6066 | 5121 | 5063 | 8109 | 6600 | 4106 | 15635 | 20735 | 4670 | 9586 | 12430 | 227 | 493 | 4918 | 228 | 220 | 1991 | 19819 | 213 | 263 | 783 | 220 | 9602
4;6 | 5580 | 5099 | 4395 | 3846 | 4868 | 6301 | 1981 | 951 | 1308 | 1252 | 2189 | 3422 | 453 | 611 | 1444 | 445 | 450 | 1108 | 2362 | 470 | 448 | 526 | 454 | 3107
5;2 | 11988 | 8337 | 7327 | 7110 | 6276 | 3457 | 11840 | 1778 | 3262 | 4742 | 10508 | 6215 | 220 | 452 | 5166 | 224 | 244 | 711 | 7106 | 236 | 227 | 331 | 237 | 2438
5;3 | 13689 | 25182 | 42646 | 29201 | 34081 | 29098 | 17544 | 13549 | 16808 | 14363 | 29344 | 42893 | 227 | 1430 | 16255 | 218 | 218 | 2303 | 18163 | 225 | 240 | 1418 | 224 | 9417
5;4 | 12175 | 14230 | 17312 | 13106 | 13406 | 19631 | 3540 | 20709 | 15552 | 5269 | 8643 | 32620 | 224 | 737 | 4008 | 223 | 219 | 2396 | 22749 | 211 | 309 | 1247 | 220 | 16694
5;5 | 7725 | 7357 | 5252 | 4563 | 4908 | 3895 | 1493 | 13941 | 15746 | 1792 | 3793 | 11236 | 241 | 449 | 1627 | 262 | 236 | 2185 | 21907 | 234 | 220 | 1195 | 240 | 11809
6;3 | 10740 | 9714 | 8137 | 7138 | 4601 | 3807 | 1289 | 1208 | 1066 | 1107 | 1883 | 4424 | 273 | 420 | 793 | 250 | 274 | 532 | 11389 | 269 | 275 | 309 | 296 | 552
6;4 | 8602 | 8306 | 5015 | 5745 | 4009 | 2804 | 1105 | 4177 | 2356 | 810 | 1703 | 3591 | 276 | 460 | 727 | 285 | 291 | 481 | 22670 | 269 | 299 | 606 | 284 | 919
End Time | 6;4 A4: 2020-07-08 17:22:31