## Result sheet
Method name: TS_24-well_130G
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1806000838
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦CELL:V4.1.4¦MTP:V13.1.5¦FLUOR:V5.1.3¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.7¦FLUOR_MEX:V5.0.7
Date: |  |  |  | 2020-07-10
Time: |  |  |  | 12:37
System |  |  |  | SCE-BIO-C02921
User |  |  |  | SCE-BIO-C02921\Collins_Lab
Plate |  |  |  | [COS24ft] - Costar 24 Flat Transparent Cat. No.: 3337/3524/3526/3527/3473
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Selected
List of actions in this measurement script:
Plate
Temperature
| Fluorescence Bottom Reading |  |  |  |  | Label 1
Name |  |  |  | COS24ft
Plate layout
Plate area |  |  |  | A1-D6
Temperature control |  |  |  | On
Target temperature |  |  |  | 20 | °C
Mode | Fluorescence Bottom Reading
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 455 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 680 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 130 | Manual
Number of flashes |  |  |  | 30
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24130 | µm
Z-Position mode |  |  |  | Manual
Multiple Reads per Well (Circle (filled)) |  |  |  | 6 x 6
Multiple Reads per Well (Border) |  |  |  | 500 | µm
Part of Plate |  |  |  | A1-D6
Start Time |  |  |  | 2020-07-10 12:33:19
Temperature |  |  |  | 22.8 | °C
|  | 1;3 | 1;4
| 2;2 | 2;3 | 2;4 | 2;5
3;1 | 3;2 | 3;3 | 3;4 | 3;5 | 3;6
4;1 | 4;2 | 4;3 | 4;4 | 4;5 | 4;6
| 5;2 | 5;3 | 5;4 | 5;5
|  | 6;3 | 6;4
Well | A1 | A2 | A3 | A4 | A5 | A6 | B1 | B2 | B3 | B4 | B5 | B6 | C1 | C2 | C3 | C4 | C5 | C6 | D1 | D2 | D3 | D4 | D5 | D6
Mean | 12100.625 | 11896.8333 | 14538.2917 | 13635.625 | 18275.75 | 17920.4583 | 13656.375 | 10454.5833 | 11716.875 | 5960.75 | 14019.3333 | 14319.9583 | 266.6667 | 1146.0833 | 7815.2083 | 260.6667 | 261.7083 | 2117.3333 | 9888.7083 | 267.125 | 263.25 | 787.125 | 272.25 | 10844.875
StDev | 3497.2496 | 4643.3502 | 5372.0965 | 6280.0383 | 11882.7489 | Invalid | 8521.3643 | 5678.1164 | 6372.8754 | 3969.6399 | 8915.9577 | 7754.1191 | 103.1342 | 614.9078 | 4587.7556 | 96.6107 | 93.7552 | 927.9481 | 2033.3685 | 112.8051 | 105.487 | 220.4476 | 100.5101 | 7081.1825
1;3 | 16579 | 12469 | 21520 | 17906 | 15818 | 8915 | 11139 | 8206 | 10410 | 9065 | 13666 | 14766 | 480 | 1092 | 5610 | 478 | 428 | 2265 | 6698 | 468 | 474 | 886 | 448 | 7332
1;4 | 14792 | 18992 | 23257 | 19166 | 18647 | 8594 | 8822 | 6773 | 9428 | 5985 | 13171 | 11255 | 541 | 1143 | 5201 | 512 | 512 | 2211 | 6863 | 566 | 558 | 1041 | 552 | 6738
2;2 | 9294 | 8867 | 10876 | 8632 | 9415 | 7866 | 20037 | 7412 | 8689 | 4968 | 10309 | 7843 | 221 | 1141 | 4838 | 236 | 228 | 1651 | 15310 | 223 | 217 | 540 | 239 | 4796
2;3 | 8312 | 7657 | 10982 | 11638 | 15636 | 19797 | 27006 | 8921 | 11110 | 8353 | 20349 | 21794 | 229 | 889 | 5237 | 194 | 222 | 1304 | 9673 | 206 | 204 | 726 | 220 | 6140
2;4 | 8197 | 8622 | 17378 | 19367 | 31491 | 25795 | 10209 | 9021 | 10946 | 9095 | 31721 | 25813 | 205 | 795 | 5541 | 211 | 222 | 1670 | 8392 | 198 | 216 | 622 | 196 | 6996
2;5 | 12894 | 18455 | 24927 | 20505 | 20954 | 20448 | 7667 | 6971 | 7506 | 7119 | 14102 | 11042 | 273 | 907 | 5588 | 276 | 261 | 1704 | 8391 | 284 | 267 | 759 | 272 | 7073
3;1 | 13466 | 11624 | 8264 | 6752 | 7129 | 5286 | 18252 | 8189 | 8577 | 3387 | 6978 | 6645 | 300 | 1516 | 4587 | 269 | 265 | 1409 | 11600 | 290 | 282 | 791 | 291 | 5132
3;2 | 8960 | 7830 | 8837 | 6935 | 7509 | 5746 | 23591 | 8527 | 10006 | 2957 | 7173 | 6409 | 203 | 900 | 8333 | 199 | 195 | 1210 | 12048 | 212 | 206 | 622 | 209 | 6240
3;3 | 10148 | 10092 | 16789 | 15971 | 14309 | 13492 | 39300 | 16046 | 17356 | 7805 | 18497 | 14651 | 207 | 2276 | 11962 | 209 | 215 | 2191 | 12847 | 195 | 181 | 1155 | 195 | 6954
3;4 | 10559 | 9084 | 13656 | 29586 | 47202 | 60089 | 18683 | 25300 | 30781 | 21475 | 41843 | 29677 | 206 | 1420 | 10889 | 213 | 210 | 3110 | 9480 | 202 | 202 | 771 | 214 | 7354
3;5 | 9283 | 9194 | 22007 | 17559 | 21019 | 25461 | 8015 | 10159 | 12665 | 5373 | 13317 | 11739 | 206 | 641 | 5252 | 213 | 213 | 1672 | 8175 | 200 | 193 | 628 | 215 | 6187
3;6 | 18951 | 19510 | 17690 | 15178 | 17022 | 26093 | 5975 | 5788 | 5766 | 5756 | 11541 | 23545 | 485 | 880 | 5363 | 474 | 490 | 2204 | 9863 | 549 | 494 | 1026 | 501 | 8520
4;1 | 13907 | 10536 | 7572 | 5908 | 7321 | 4950 | 12513 | 7399 | 7572 | 2871 | 6269 | 6242 | 237 | 1424 | 5180 | 226 | 237 | 1221 | 10742 | 254 | 267 | 668 | 283 | 6201
4;2 | 9192 | 7283 | 8071 | 6310 | 7615 | 4832 | 16105 | 10189 | 10561 | 3484 | 8638 | 7188 | 200 | 1147 | 11897 | 203 | 205 | 1586 | 11197 | 217 | 209 | 707 | 211 | 23804
4;3 | 10600 | 12056 | 13374 | 14900 | 16894 | 12748 | 26975 | 26866 | 28206 | 9081 | 28302 | 19315 | 206 | 3364 | 25587 | 199 | 205 | 3859 | 13184 | 183 | 205 | 1446 | 212 | 29346
4;4 | 11126 | 9123 | 16492 | 22814 | 52030 | 60000 | 9544 | 17573 | 19388 | 7437 | 19608 | 30049 | 203 | 1736 | 11899 | 198 | 201 | 4910 | 9312 | 211 | 200 | 719 | 217 | 8939
4;5 | 11145 | 9850 | 17069 | 13290 | 20763 | 29372 | 7043 | 12453 | 13281 | 3275 | 10889 | 13078 | 197 | 651 | 7887 | 213 | 199 | 2443 | 8214 | 202 | 207 | 686 | 224 | 6660
4;6 | 21569 | 22690 | 19179 | 14600 | 17506 | 21677 | 6223 | 5404 | 5718 | 4999 | 11937 | 23165 | 416 | 866 | 5528 | 383 | 404 | 2932 | 9595 | 418 | 396 | 1083 | 407 | 8208
5;2 | 9407 | 7410 | 8354 | 6020 | 7144 | 5220 | 8798 | 6761 | 7504 | 3154 | 7090 | 6311 | 215 | 733 | 5419 | 215 | 225 | 1185 | 9496 | 210 | 215 | 654 | 211 | 23840
5;3 | 9355 | 7525 | 8269 | 7992 | 13122 | 6886 | 11772 | 11325 | 10392 | 3927 | 10461 | 10769 | 196 | 1095 | 9691 | 206 | 207 | 2271 | 10193 | 210 | 212 | 869 | 205 | 24278
5;4 | 9762 | 9700 | 13991 | 16256 | 31735 | 31468 | 7096 | 11175 | 11843 | 3610 | 8541 | 17961 | 205 | 710 | 9940 | 196 | 202 | 3027 | 7967 | 186 | 194 | 698 | 217 | 13135
5;5 | 13420 | 20357 | 18776 | 15038 | 18554 | 14328 | 6774 | 7637 | 9126 | 3618 | 7785 | 10749 | 234 | 634 | 6982 | 246 | 236 | 2307 | 8874 | 235 | 209 | 670 | 232 | 10957
6;3 | 15646 | 13591 | 9031 | 6016 | 6859 | 5315 | 8593 | 6062 | 7242 | 3008 | 7589 | 6361 | 271 | 767 | 4439 | 230 | 251 | 1171 | 10217 | 233 | 240 | 542 | 288 | 14529
6;4 | 13851 | 13007 | 12558 | 8916 | 12924 | 5713 | 7621 | 6753 | 7132 | 3256 | 6688 | 7312 | 264 | 779 | 4715 | 257 | 248 | 1303 | 8998 | 259 | 270 | 582 | 275 | 10918
End Time | 6;4 A4: 2020-07-10 12:37:20